# FungiForge — User Manual

A fungal ONT / Illumina / hybrid genomics pipeline (reads → assembly → annotation → identification → antifungal resistance → BGCs → One Health analysis)

Bright Adu

Genomics & Bioinformatics Core

Noguchi Memorial Institute for Medical Research

University of Ghana, Legon, Ghana

2026-07-30

Contents

# 1	1. Introduction

FungiForge is a Nextflow DSL2 pipeline that turns sequencing reads from a single fungal isolate — Oxford Nanopore (ONT) long reads, Illumina short reads, or both (hybrid) — into a de-novo assembly, a eukaryotic gene annotation, a species identification, an antifungal-resistance genotype, a mobile-element/mycovirus inventory, a biosynthetic-gene-cluster (BGC) catalogue, and a novelty verdict, then merges everything into one per-isolate report and a single row of a fixed-schema master table. A second, independent R analysis layer consumes those master rows across many isolates to build the air / human / surface One Health comparative story.

FungiForge is the fungal sibling of the forge family (CaptureForge designs capture panels, CallForge analyses targeted-capture germline callsets, MethylForge analyses methylomes). It follows the same engineering stance: stand on validated upstream tools, add only the bespoke layers the science genuinely needs, and change inputs and configuration — never code — to move to a new organism, facility, or study.

Its immediate use is the fungal arm of an airborne-AMR One Health study: culturing and sequencing fungi recovered from air, human, and surface compartments across abattoirs, clinics, markets and community settings, to ask which settings concentrate azole-resistant Aspergillus fumigatus, echinocandin-resistant Candida/Nakaseomyces, priority pathogens such as Candida auris, and candidate novel species or novel natural-product clusters. But the pipeline is organism-agnostic: any cultured fungal isolate with ONT and/or Illumina reads runs through it.

Who it is for. Genomics-core and bioinformatics staff running fungal isolate genomics who need a reproducible, container-pinned workflow that is honest about the two structural realities of fungal genomics: (1) ONT homopolymer indels fall exactly where antifungal-resistance point mutations live, so resistance calls on an ONT-only assembly are provisional until hybrid-polished (hybrid and Illumina-only assemblies are high-confidence, having no homopolymer-indel problem); and (2) there is no ResFinder for fungi and no GTDB for fungi — resistance and identification must be done with bespoke, curated logic rather than a single push-button database.

Status note used throughout this manual. FungiForge is implemented and validated end-to-end on the synthetic test fixture (all 15 stages wire and run under -profile test). Stage implementations are being exercised on a first real A. fumigatus isolate. Where a statement is a property of the machinery rather than a real biological result, the text says so. This manual documents what the code actually does and flags what is a placeholder or milestone-pending honestly (see §12–§14).

# 2	2. Concepts

This section covers the fungal-genomics background a FungiForge user needs to read the outputs correctly.

Three input modes — and why polishing matters for resistance. FungiForge assembles from whatever reads an isolate has, routed automatically by meta.assembly_mode (set from the samplesheet):

- ONT-only (longread) — Nanopore long reads span repeats and resolve a contiguous fungal genome (typically 30–50 Mb) that short reads alone fragment (Flye). Their weakness is systematic error in homopolymer runs — a run of six As may be read as five or seven — producing false indels and frameshifts. Antifungal-resistance calling reads single-residue changes in genes like cyp51A, ERG11 and FKS1, so an uncorrected homopolymer error can invent a resistance mutation or erase a real one. Stage 03a Medaka (an ONT neural consensus) is always applied, but calls remain provisional_ont_only.

- Hybrid (longread + Illumina) — after Medaka, Stage 03b Polypolish uses the short reads to correct the residual indels Medaka cannot. This is the highest-quality assembly and yields high-confidence resistance calls.

- Illumina-only (shortread) — no ONT at all: Stage 02b SPAdes assembles directly from the short reads. There is no homopolymer-indel problem, so Medaka/Polypolish are skipped and calls are high-confidence. (The trade-off is contiguity: short-read-only assemblies are more fragmented than long-read ones, which can affect repeat-spanning features such as the cyp51A promoter TR locus.)

Every isolate carries a polish mode (hybrid, illumina_only, ont_only, or hybrid_failed_ont_fallback) and a resistance-confidence flag; ONT-only calls are labelled provisional_ont_only and never presented as clean.

ITS/UNITE barcoding and GCPSR multi-locus identification — no GTDB for fungi. Bacteria have GTDB-Tk and a genome-taxonomy backbone; fungi do not. The universal fungal barcode is the ITS region (ITS1–5.8S–ITS2, between the SSU and LSU rRNA genes), classified against the UNITE reference database of curated species hypotheses (SH). ITS alone is often only genus-resolving, so FungiForge combines it with genome-level average nucleotide identity (ANI) (sourmash/skani vs type-strain sketches) and MLST, and reports a call under the principle of GCPSR — Genealogical Concordance Phylogenetic Species Recognition: a species is asserted with high confidence only when independent loci (ITS and genome ANI) agree. The result is always a species plus a confidence and a method, never a bare label. Guidance thresholds: ITS identity ≥98.5% → species-level; 94–98.5% → genus/uncertain; <94% → candidate novel.

Why antifungal resistance is bespoke: a curated panel + FungAMR references + a structural TR detector. No curated, sequence-bearing “ResFinder for fungi” exists. FungiForge builds resistance calling from three parts:

- A curated panel (af_resistance_panel.tsv) — an interpretation overlay listing, per gene and per species, the drug class, the mechanism (substitution / loss-of-function / gain-of-function / over-expression / promoter tandem-repeat), the hotspot residue numbers, and the known resistance mutations, each with a literature source.

- FungAMR reference sequences — FungAMR (Bédard/Landry et al., Nat Microbiol 2025) ships a mutation table with no sequences; bin/build_fungamr_refs.py fetches the UniProt protein for every ref_seq_uniprot_accession and writes a species-labelled reference FASTA that the caller aligns the isolate’s proteins against, so hotspot residue numbering is anchored to the correct reference frame.

- A dedicated structural detector for the A. fumigatus cyp51A promoter tandem repeats.

cyp51A TR34/TR46 promoter structure. The dominant environmental azole-resistance mechanism in A. fumigatus is not a point mutation but a tandem repeat (TR) inserted into the cyp51A promoter — a duplication of a ~34 bp (TR34) or ~46 bp (TR46) unit in the region between the two SrbA transcription-factor binding sites, which up-regulates the azole target. TR34 canonically pairs with the coding mutation L98H, and TR46 with Y121F + T289A. Because a TR is a structural insertion, it is invisible to any substitution caller; bin/cyp51a_TR.py locates cyp51A in the annotation, extracts the ~600 bp upstream promoter (strand-aware), and scans for a tandem array, reporting the unit length, copy number and TR type (TR34 / TR46 / TR46³ / TR53).

Biosynthetic gene clusters (BGCs). Fungi encode clustered secondary-metabolite pathways — non-ribosomal peptide synthetases (NRPS), polyketide synthases (PKS), terpene synthases, RiPPs, and hybrids — that produce mycotoxins, antibiotics and virulence factors. fungiSMASH (antiSMASH 8, fungal mode) detects them per isolate; whether a cluster is a known MIBiG compound or novel is resolved across all isolates by BiG-SCAPE in the Layer-2 comparative step.

Novelty by ANI/ITS distance. A candidate novel species is flagged when genome ANI to the closest reference genome is <95% (the strong signal, when a reference genome set is staged) or, as a fast fallback, when the best ITS identity is <98.5%. Both verdicts are reported with the GCPSR/polyphasic caveat — a genome distance is a hypothesis, confirmed only by multi-locus phylogeny and a formal polyphasic description.

# 3	3. Pipeline architecture

FungiForge Layer 1 runs 15 Nextflow stages (modules/stage00…14), chained by subworkflows/fungiforge.nf and launched from main.nf. Each stage runs in its own pinned container (or conda env), publishes its outputs to results/<sample>/<NN>_<stage>/, and emits a small result.json; Stage 14 merges every stage’s JSON into a per-isolate HTML report and one row of the master table. The diagram below is the authoritative map: solid edges are the assembly spine, dotted edges feed a downstream stage a specific artifact, dashed nodes are optional/skippable, and the amber cylinders are the reference databases staged under --data_dir.

FungiForge Layer-1 pipeline DAG — the 15 stages colour-coded by group; the optional Dorado basecall and the four skippable feature-calling stages are dashed; external reference databases (amber) feed the ID/resistance/BGC/novelty stages; the antifungal-resistance stage (red, ★) is the bespoke centerpiece; everything converges on Stage 14, which emits master_fungi.tsv — the handoff to the Layer-2 One Health analysis.

Stage walkthrough (purpose · key tool/container · inputs → outputs).

| # | Stage | Key tool(s) / container | Inputs → key output(s) |
| --- | --- | --- | --- |
| 00 | Basecall (optional) | Dorado (native host binary / base image) | pod5 dir → *.ont.fastq.gz |
| 01 | Read QC & filter | NanoPlot, chopper, fastp / base image | raw reads → *.ont.filt.fastq.gz, readqc.json (mode-aware) |
| 02 | Assembly (long-read) | Flye ¦ Canu ¦ Raven + purge_dups / staphb/flye | filtered ONT → *.assembly.fasta |
| 02b | Assembly (short-read) | SPAdes ¦ MEGAHIT / staphb/spades | Illumina-only → *.assembly.fasta |
| 03a | ONT polish | Medaka / staphb/medaka | draft + ONT → *.medaka.fasta (long-read isolates) |
| 03b | Short-read polish (hybrid) / Illumina-only passthrough | bwa + Polypolish / staphb/polypolish | Medaka + Illumina → *.polished.fasta, polish.json; Illumina-only passes through (mode=illumina_only) |
| 04 | Decontam + organelle split | Kraken2 per contig (drops bacterial/archaeal/viral/human; records composition + fungal/non_fungal verdict) / base image | polished → *.nuclear.fasta, *.mito.fasta, decontam.json |
| 05 | Assembly QC + completeness | QUAST, compleasm/BUSCO / ezlabgva/busco | nuclear → assemblyqc.json (contiguity, BUSCO, qc_pass) |
| 06 | Repeat model + soft-mask | RepeatModeler2, RepeatMasker / dfam/tetools | nuclear → *.masked.fasta, *.telib.fasta, repeat.json |
| 07 | Eukaryotic annotation | Funannotate / nextgenusfs/funannotate | masked → *.proteins.faa, *.gbk, annotate.json |
| 08 | Identification (GCPSR) | ITSx, barrnap, vsearch/UNITE, sourmash/skani, MLST / base image | nuclear → *.species.txt, *.markers.fasta, identify.json |
| 09 | Antifungal resistance ★ | af_resistance.py + cyp51a_TR.py / base image | proteins + species + nuclear + GBK → resistance.json |
| 10 | Mobile & repeat elements | te_summary.py, geNomad/RVDB / base image | TE library + mito → mobile.json |
| 11 | Biosynthetic gene clusters | fungiSMASH (antiSMASH 8) / antismash/standalone:8.0.0 | GBK → bgc.json, *.regions.gbk |
| 12 | Novelty | skani + ITS distance + IQ-TREE / base image | nuclear + markers + ID → novelty.json |
| 13 | Eukaryote extras | nQuire/Smudgeplot, dbCAN, EffectorP, mating-type / base image | proteins + reads → extras.json |
| 14 | Report + master table | make_report.py (jinja2) / base image | all result.json → *.report.html, *.master.tsv |

Nextflow / profile model. main.nf parses the sample sheet and calls the single subworkflow FUNGIFORGE, which wires the 15 modules. Behaviour is set by two composable profile groups on the command line — an execution profile (local or hpc_slurm) plus a packaging profile (conda, mamba, docker, singularity, or apptainer). conf/base.config maps each stage’s resource label to its container image / conda env and its CPU/memory/time request; Nextflow picks the container when a container profile is active, otherwise the conda env. Heavy stages use their upstream community images; the light stages share the aduton1000/fungiforge:0.1.0 base image.

The two-layer design and the master-table contract. Layer 1 is per-isolate genomics; Layer 2 (analysis/) is a set of R objective scripts that read only the master table. The handoff is a fixed-schema TSV so the two layers stay decoupled — Layer 2 can be re-run independently, and the schema deliberately mirrors the bacterial study’s master_results table so the fungal and bacterial One Health stories are directly comparable.

Two-layer architecture and the master-table handoff contract. Layer 1 (Nextflow) emits one master_fungi.tsv row per isolate to results/04_summary/; Layer 2 (R) merges those rows and runs eight One Health objectives.

# 4	4. Installation

FungiForge needs Nextflow (≥23.10) with Java 17+, plus either a container engine (Docker on a workstation, Apptainer/Singularity on HPC) or conda/mamba. You do not install the bioinformatics tools by hand — each stage declares its own pinned container or env/*.yml, and Nextflow provisions it on first use.

## 4.1	4.1 Local install (workstation / laptop)

# 1. Nextflow (Java 17+ required)
curl -s https://get.nextflow.io | bash && sudo mv nextflow /usr/local/bin/
#    or: mamba create -n nextflow -c bioconda 'nextflow>=23.10'

# 2. obtain FungiForge and enter the repository
cd /path/to/fungiforge

# 3. install the small Python front-end + bespoke callers (stdlib-light)
pip install -e .          # registers the `fungiforge` command; also usable in a conda env

macOS (Apple Silicon) — the amd64 emulation caveat. All heavy stage images are built linux/amd64; there are no osx-arm64 builds for tools like Funannotate or antiSMASH. On Apple Silicon the docker profile therefore runs them under Rosetta/QEMU emulation — correct but slow. The pipeline is configured for this: docker.runOptions sets --platform linux/amd64, and heavy/slow options default off for local runs (--run_interproscan false, --genome_id false). Two consequences to plan around:

- Annotation (Stage 07) and BGC detection (Stage 11) can take many hours per isolate under emulation — budget accordingly, or run them on the HPC.

- Dorado (Stage 00) runs as a native arm64 host binary, not in a container, so basecalling stays fast on Apple Silicon. The light conda envs that have no osx-arm64 build can be created with CONDA_SUBDIR=osx-64 mamba env create -f env/<name>.yml (noted in env/readqc.yml).

The container image. The light stages use aduton1000/fungiforge:0.1.0; build it once (native, no emulation) from the repo:

docker build -f env/Dockerfile -t aduton1000/fungiforge:0.1.0 .

## 4.2	4.2 Shared HPC install (SLURM + Apptainer/Singularity)

The production route is the cluster (native linux-64, no emulation). docs/hpc_deployment.md is the authoritative procedure; in brief:

# 1. code + tools (nextflow >=23.10, java 17+, apptainer or singularity)
git clone https://github.com/aduton1000/fungiforge && cd fungiforge

# 2. build the base image once (heavy public images pull automatically at run time)
apptainer build fungiforge.sif env/fungiforge.def       # or: singularity build …

# 3. stage the reference databases once (hours; see §6)
export FUNGIFORGE_DB=/scratch/$USER/fungiforge_db
bash bin/fetch_references.sh

# 4. site config + Lmod module (the share/ wrappers)
cp share/fungiforge-env.sh.example ~/.fungiforge-env.sh   # edit paths / partition / account
module use /path/to/fungiforge/share/modulefiles
module load fungiforge

# 5. run (uses hpc_slurm,apptainer by default)
fungiforge-run --samplesheet samples.csv --run_interproscan true

The hpc_slurm profile (conf/hpc_slurm.config) sets the SLURM executor with time-based partition routing (short for ≤4 h tasks, long otherwise) unless you override --slurm_partition / --slurm_account; it caps concurrency at 100 queued jobs and rate-limits submission. The share/ Lmod wrappers — fungiforge-run, fungiforge-env.sh.example, and modulefiles/fungiforge/0.1.0.lua — put FUNGIFORGE_HOME, FUNGIFORGE_DB, the work dir, the profile, and the Apptainer bind paths (APPTAINER_BINDPATH must include the DB and work dirs) in one sourced site file so a run collapses to fungiforge-run --samplesheet samples.csv. Launch from a writable directory (Nextflow writes .nextflow/ and work/) and put work/ on scratch.

## 4.3	4.3 How FungiForge uses containers and conda envs

FungiForge deliberately uses many small, isolated per-stage environments rather than one monolith, because the stage toolchains conflict (a Flye/Medaka assembly stack, a Perl-heavy Funannotate stack, an antiSMASH stack, RepeatModeler’s dfam/tetools stack). Each stage’s conf/base.config label points at both a conda env/*.yml and a container image; the active packaging profile selects which. Two container details are load-bearing and documented in the config:

- The --data_dir bind is explicit. Nextflow auto-mounts the project and work dirs but not --data_dir, so under Docker the profile injects -v "$data_dir":"$data_dir" (and under Apptainer/Singularity -B "$data_dir") — otherwise the reference DBs are invisible to the containers. The path is quoted to survive spaces (e.g. a path containing spaces).

- The antiSMASH image’s entrypoint is cleared (--entrypoint="") because antismash/standalone sets ENTRYPOINT ["antismash"], which would hijack Nextflow’s bash launch; and the Docker profile passes -e HOME=/tmp -e USER=fungiforge so tools that call getpass.getuser()/expanduser() (Medaka/torch, Funannotate) do not crash on a host UID absent from the container’s /etc/passwd.

You never activate any of these by hand — Nextflow provisions the right env/container per process automatically.

Every image is pinned. conf/base.config names a versioned tag for each public image (staphb/flye:2.9.6, staphb/spades:4.3.0, staphb/medaka:2.2.2, staphb/polypolish:0.6.1-bwa, ezlabgva/busco:v5.7.1_cv1, dfam/tetools:2.00) and records, beside each, the manifest digest the tag resolved to when it was validated; funannotate has no versioned tag for the validated build, so it is pinned by digest (nextgenusfs/funannotate@sha256:2eadfeb4…). The fungiforge base image is built from env/base.linux-64.lock, an explicit URL+md5 lock of the whole solved environment (exported from the validated image with bin/lock_env.sh); env/base.yml carries the same versions as exact == pins for reading. Rebuilding from the lock reproduces the conda layer package-for-package (verified: two independent builds gave identical 453-package lists). provenance.json (§11.3) records what actually ran.

# 5	5. The fungiforge CLI and how to run

## 5.1	5.1 The console command

pip install -e . registers a small stdlib-only console command, fungiforge (defined in fungiforge/cli.py, entry point fungiforge.cli:main), with four subcommands:

- fungiforge run … — thin wrapper over nextflow run main.nf (adds --samplesheet, --data_dir, --outdir, -profile, -resume; extra args pass through).

- fungiforge samplesheet … — build a sample sheet by pairing ONT and/or Illumina read globs by sample id (§7).

- fungiforge fetch-refs --data_dir DIR — print the reference-DB fetch command (§6).

- fungiforge version.

The raw forms always work unchanged (nextflow run main.nf …).

## 5.2	5.2 The nextflow run invocation and composable profiles

A run composes one execution profile and one packaging profile:

# single machine, Docker (on arm64 hosts: linux/amd64 emulated)
nextflow run main.nf -profile local,docker \
    --samplesheet samples.csv --data_dir /path/to/fungiforge_db

# SLURM cluster, native (no emulation)
nextflow run main.nf -profile hpc_slurm,singularity \
    --samplesheet samples.csv --data_dir /path/to/fungiforge_db

# equivalently, via the CLI front door
fungiforge run -profile local,docker \
    --samplesheet samples.csv --data_dir /path/to/fungiforge_db

- Execution: local (this single machine) or hpc_slurm (SLURM cluster).

- Packaging: conda | mamba | docker | singularity | apptainer.

- test is a third profile that points at the bundled synthetic fixture and is composed as -profile test,docker (usually with -stub-run) to validate the DAG in minutes.

main.nf enforces fail-loud guards at launch: it errors if --samplesheet is missing, warns if --data_dir is unset (identification / resistance / BGC / novelty need the reference DBs), and errors if --basecall is set without --dorado_model.

## 5.3	5.3 Quickstart (test fixture)

# validate all 15 stages wire end-to-end in minutes (machinery check, not data quality)
nextflow run main.nf -profile test,docker -stub-run

The test profile (conf/test.config) supplies a subsampled sample sheet, a mini reference DB, busco_lineage = saccharomycetes_odb10, and writes to results_test/. Use it to confirm an install or a config change.

## 5.4	5.4 The test suite

| Layer | What | How |
| --- | --- | --- |
| Unit | every helper in bin/*.py and the CLI, on synthetic inputs (Kraken2 report fixture, GenBank records built in the test, synthetic proteins / promoters); the scripts are driven as subprocesses the way the pipeline drives them, with subprocess coverage of bin/ + fungiforge/ (≥ 85 % enforced) | pip install -e ".[dev]", then COVERAGE_PROCESS_START=.coveragerc coverage run -m pytest test/unit && coverage combine && coverage report |
| Static | nextflow lint at zero warnings (strict syntax); shellcheck at warning level on every shell script | nextflow lint .; shellcheck -S warning -x bin/*.sh share/bin/* |
| DAG | the 15 stages on the three-mode fixture under -stub-run (routing, joins, DB_CHECK gate, provenance) | nextflow run main.nf -profile local,test -stub-run |
| nf-test | parse_row/resolve_path routing cases (ONT-only, hybrid, Illumina-only, unpaired refused), one stub test per module (every declared output emitted once, named after the sample), the whole DAG with and without the skip flags | nf-test test (nf-test.config, cases under test/nf-test/) |
| Containers | the fixture through the real images with Docker: DB_CHECK and READ_QC complete in-container, versions are recorded, and the assemblers’ failure on the synthetic reads is recorded by the status contract, not hidden | bash test/run_docker_fixture.sh |
| Real data | CEA10 hybrid and DF-005 Illumina-only compared with test/expected/*.json (fungiforge validate), assemblies benchmarked against A1163 / NRRL 3357 (bin/benchmark_assembly.py), and cyp51A TR34/L98H controls whose genotype is first confirmed from their reads (bin/control_genotype.py, bin/fetch_controls.sh) | docs/validation.md |

The first four layers run on every push (.github/workflows/ci.yml); the last two need the image set and databases and run locally or on the development deployment.

# 6	6. Reference databases

FungiForge follows the forge convention: fetch and checksum every database up front, never mid-run. bin/fetch_references.sh stages them all into one --data_dir root using aria2c (16 parallel connections, --continue to resume a broken transfer, infinite retries; curl -C - fallback). Each database is guarded by a .done sentinel and recorded in MANIFEST.tsv; one database failing does not abort the others, and version-sensitive URLs (UNITE, Kraken2, sourmash-fungi, RVDB) resolve the current release at run time and log-and-skip rather than guess on a 404. Databases total roughly 150–250 GB, so they are staged on an external/scratch drive.

## 6.1	6.1 The databases

| Database | Provides | Stage(s) | fetch_references.sh step |
| --- | --- | --- | --- |
| Container images | all stage images (Flye, Medaka, antiSMASH 8, Funannotate, dfam/tetools, BUSCO) | all | images |
| antiSMASH databases (~9 GB) | fungiSMASH BGC detection | 11 | antismash (via the antiSMASH 8 image) |
| Funannotate DB (~30–50 GB: Pfam, dbCAN, MEROPS, InterPro, BUSCO) | eukaryotic annotation | 07 | funannotate (funannotate setup -i all) |
| eggNOG (~50 GB) | functional annotation | 07 | eggnog (download_eggnog_data.py) |
| BUSCO / compleasm fungi_odb10 (+ order lineages) | assembly completeness | 05 | busco |
| UNITE general FASTA (Fungi v10.0, 2025) | ITS species identification | 08 | unite |
| Kraken2 (PlusPF-8 GB) | decontamination | 04 | kraken2 |
| sourmash/RefSeq-fungi (GenBank fungi k=31) | genome-ANI ID & novelty | 08, 12 | refseq_fungi |
| FungAMR tables + built reference proteins | antifungal-resistance calling | 09 | fungamr (+ build_fungamr_refs.py) |
| RVDB-prot (v31.0 RdRp) | mycovirus / EVE screen (staged now; consumed from the W2.8 mobile/mycovirus upgrade) | 10 | rvdb |

Checked before every run. The first task of a run, DB_CHECK, verifies that every database the enabled stages need is present and complete (the .done marker fetch_references.sh writes plus the key files each stage opens: UNITE FASTA, Kraken2 *.k2d, BUSCO lineage, funannotate Pfam-A.hmm, antiSMASH clusterblast/, FungAMR tables + reference proteins; refseq_fungi only with --genome_id; Kraken2/antiSMASH only when their stages are on). Anything missing is listed once and the run stops in seconds instead of hours later; --allow_missing_db turns that into a warning, and the dependent stages then record skipped. --funannotate_db / --antismash_db overrides are honoured. The findings are written to pipeline_info/db_manifest.json (with each database’s MANIFEST.tsv source line) and embedded in provenance.json.

## 6.2	6.2 Staging them

export FUNGIFORGE_DB="/path/to/fungiforge_db"
bash bin/fetch_references.sh                       # all steps (many hours; resumable)
bash bin/fetch_references.sh images antismash fungamr   # only selected steps

Re-running is safe and resumes where it stopped. The FungAMR step is special: FungAMR ships a mutation table with no sequences, so after downloading the tables the script calls build_fungamr_refs.py, which reads every ref_seq_uniprot_accession, fetches those proteins from UniProt (batched, with recursive batch-splitting so one obsolete accession never sinks its neighbours), and writes fungamr/reference_proteins.faa with >GENE__ACC__Species headers — the sequences Stage 09 aligns against. MARDy is not fetched (its REST API is API-key-gated and its content is largely subsumed by FungAMR).

Note on refreshing version-sensitive URLs. The script embeds the current default URL and the recipe to resolve a newer one for UNITE (PlutoF DOI), Kraken2 (genome-idx S3), sourmash-fungi (UC Davis prepared DB) and RVDB (Institut Pasteur). If a URL 404s, that step logs FAILED in the manifest and continues; resolve the new link and re-run just that step.

# 7	7. Inputs — the sample sheet

The only per-run input is a CSV sample sheet (--samplesheet), with this exact schema (parsed in main.nf):

sample,ont_fastq,illumina_r1,illumina_r2,compartment,facility,season

- sample — unique isolate id (becomes the output directory and every filename).

- ont_fastq — the ONT FASTQ. Optional — required only when the isolate has no Illumina reads. When --basecall is set this column is instead the pod5 directory Dorado basecalls.

- illumina_r1, illumina_r2 — paired short reads. Optional individually, but they come as a pair (one without the other is an error). With ONT present → the Stage 03b hybrid polish runs (under --hybrid auto). Without ONT → the isolate is Illumina-only and is assembled by SPAdes (Stage 02b). Missing reads are substituted with the assets/NO_ONT / NO_R1 / NO_R2 sentinels so the channel plumbing stays well-typed.

- compartment, facility, season — the One Health metadata carried untouched to the master table and consumed by Layer 2 (e.g. AIR / HUMAN / SURFACE; a facility label; a season). Default to NA when absent.

Each row must provide either ont_fastq or the illumina_r1+illumina_r2 pair (or all three). The mode is auto-detected per row (meta.assembly_mode): ONT present → longread (ONT-only or hybrid); ONT absent → shortread (Illumina-only).

A generic example mixing all three modes:

sample,ont_fastq,illumina_r1,illumina_r2,compartment,facility,season
AF_AIR_001,reads/AF_AIR_001.ont.fastq.gz,reads/AF_AIR_001_R1.fastq.gz,reads/AF_AIR_001_R2.fastq.gz,AIR,Abattoir_1,Dry
CA_HUM_014,reads/CA_HUM_014.ont.fastq.gz,,,HUMAN,Clinic_2,Wet
CA_SUR_009,,reads/CA_SUR_009_R1.fastq.gz,reads/CA_SUR_009_R2.fastq.gz,SURFACE,Clinic_2,Wet

Here AF_AIR_001 is hybrid (ONT + Illumina → hybrid-polished, high-confidence resistance), CA_HUM_014 is ONT-only (provisional resistance), and CA_SUR_009 is Illumina-only (SPAdes assembly, high-confidence resistance).

Building one automatically. fungiforge samplesheet pairs ONT and/or Illumina globs by sample id and stamps the metadata (omit --ont entirely for an Illumina-only cohort):

fungiforge samplesheet \
    --ont 'reads/*.ont.fastq.gz' \
    --illumina-r1 'reads/*_R1*.fastq.gz' --illumina-r2 'reads/*_R2*.fastq.gz' \
    --compartment AIR --facility Abattoir_1 --season Dry \
    -o samples.csv

It derives the id by stripping the read suffix, matches R1/R2 to the ONT id (dropping _R1/_1 markers), and leaves the Illumina columns blank for any sample without short reads. Edit the CSV afterwards to correct per-sample compartment/facility/season if they differ.

# 8	8. Configuration & parameters

Set parameters with --key value on the command line (there is no params-file convention baked in, but -params-file x.yaml works as usual for Nextflow). Compute caps and stage toggles are the knobs you will touch most.

Key parameters (real defaults from nextflow.config).

| Param | Default | Meaning |
| --- | --- | --- |
| --samplesheet | null | required — the CSV sample sheet |
| --data_dir | null | reference-database root (§6); warns if unset |
| --outdir | results | results directory |
| --hybrid | auto | ONT isolates only: auto (polish with Illumina if present) ¦ on ¦ off |
| --assembler | flye | long-read assembler (ONT/hybrid): flye ¦ canu ¦ raven |
| --sr_assembler | spades | short-read assembler (Illumina-only): spades ¦ megahit |
| --purge_dups | true | collapse heterozygous haplotigs after long-read assembly (skipped for short-read) |
| --min_contig_len | 500 | drop contigs shorter than this, or with fewer than 4 distinct bases, at short-read assembly and before annotation (funannotate sort --minlen); short-read assemblers leave many tiny fragments and occasional homopolymer stubs that funannotate rejects |
| --ont_min_qual | 10 | chopper Q filter (Stage 01) |
| --ont_min_len | 1000 | chopper length filter (Stage 01) |
| --basecall | false | run Dorado on a pod5 dir (ont_fastq column = pod5 dir) |
| --dorado_model | r1041_e82_400bps_sup_v5.2.0 | Dorado model; also Medaka’s model |
| --dorado_duplex | false | Dorado duplex basecalling |
| --busco_lineage | auto | auto (order-specific after ID) ¦ fungi_odb10 ¦ <lineage> |
| --genome_id | false | Stage 08 genome-level sourmash gather (slow emulated; ITS is primary) |
| --run_interproscan | false | Stage 07 InterProScan (heavy; default off, enable on a cluster) |
| --ploidy | auto | ploidy handling |
| --genemark_key | null | path to a free-academic GeneMark license .gm_key |
| --af_panel | bundled af_resistance_panel.tsv | curated resistance panel (Stage 09) |
| --skip_decontam | false | skip Stage 04 decontamination |
| --skip_mge | false | skip Stage 10 mobile elements |
| --skip_bgc | false | skip Stage 11 BGCs |
| --skip_novelty | false | skip Stage 12 novelty |
| --skip_extras | false | skip Stage 13 extras |
| --max_cpus | 16 | max cores per task on the local machine |
| --max_memory | 120.GB | memory ceiling |
| --max_time | 96.h | time ceiling (fungal annotation is slow, esp. emulated) |
| --slurm_partition / --slurm_account | null | SLURM routing (else time-based short/long) |

Stage toggles genuinely skip. A --skip_* flag makes the subworkflow emit an empty channel for that stage rather than running the process emptily — so the stage’s container is never even pulled. Skippable stages are 10 (mobile), 11 (BGC), 12 (novelty), 13 (extras), plus 04 decontam via --skip_decontam. The assembly-through-report spine (00–09, 14) is not skippable.

Per-process resources. Resources are declared per stage via labels in conf/base.config (e.g. assembly gets up to 12 CPUs / 64 GB / 24 h; annotate up to 12 CPUs / 64 GB / 72 h; repeat up to 12 CPUs / 48 GB / 48 h). CPU-bound tools receive task.cpus. The default process policy retries on out-of-memory/time exit codes (137/139/140/143/247) up to twice, scaling memory and time with the attempt number.

# 9	9. The stages in detail

Each stage publishes to results/<sample>/<NN>_<stage>/ and emits a result.json. Generic example commands below show the pipeline invocation that exercises the stage; you normally run the whole pipeline, not stages individually.

## 9.1	9.1 Stage 00 — Basecall (optional)

Runs Dorado on a pod5 directory to produce the ONT FASTQ, only when --basecall is set (and --dorado_model must be given, or main.nf errors). Dorado runs as a native host binary, which keeps basecalling fast on Apple Silicon. Supports duplex via --dorado_duplex.

nextflow run main.nf -profile local,docker --samplesheet pod5_samples.csv \
    --data_dir /path/to/fungiforge_db --basecall --dorado_model r1041_e82_400bps_sup_v5.2.0

## 9.2	9.2 Stage 01 — Read QC & filter (mode-aware)

For long-read isolates (ONT present): NanoPlot on raw and filtered reads; chopper filters by quality (--ont_min_qual, default Q10) and length (--ont_min_len, default 1000 bp); Illumina (if present): fastp. For Illumina-only isolates: fastp only, and an empty ONT placeholder is emitted to keep the tuple contract. readqc.json records the platform (ont | hybrid | illumina) and the filtered ONT FASTQ (long-read) is carried forward.

## 9.3	9.3 Stage 02 — Assembly (long-read) / Stage 02b — Assembly (short-read)

Long-read isolates (assembly_mode == longread) are assembled with the chosen --assembler: Flye --nano-hq (default), Raven, or Canu (genomeSize=35m). When --purge_dups true (default), purge_dups collapses heterozygous haplotigs via a minimap2 self-alignment; if purge_dups is unavailable the raw assembly is kept.

Illumina-only isolates (assembly_mode == shortread) are assembled by Stage 02b with --sr_assembler: SPAdes --isolate (default; built-in read error-correction) or MEGAHIT. purge_dups (a long-read haplotig step) does not apply. Both stages emit the same *.assembly.fasta so the two paths merge transparently downstream.

## 9.4	9.4 Stage 03a — ONT polish (Medaka), long-read isolates

Medaka (staphb/medaka) computes a neural consensus of the draft using the ONT reads and the --dorado_model. If Medaka produces no consensus the draft passes through unchanged. Emits *.medaka.fasta. Runs only for long-read isolates (Illumina-only assemblies skip it — there is no ONT and no homopolymer error to correct). Medaka and Polypolish live in different containers, which is why the polish is split into 03a and 03b.

## 9.5	9.5 Stage 03b — Short-read polish (Polypolish) / Illumina-only passthrough

For hybrid isolates (ONT + Illumina, --hybrid auto/on), this stage polishes the Medaka consensus with Polypolish (staphb/polypolish). Polypolish requires all alignments per read (bwa mem -a) plus an insert-size filter — the module runs bwa index, two bwa mem -a passes, polypolish filter, then polypolish polish. For Illumina-only isolates the SPAdes assembly is already short-read-derived, so it passes through unchanged. The reported mode is honest:

- hybrid — the short-read pass succeeded (resistance_confidence: high);

- illumina_only — Illumina-only assembly, no ONT (resistance_confidence: high; no homopolymer-indel risk);

- ont_only — long-read isolate with no Illumina reads (provisional_ont_only);

- hybrid_failed_ont_fallback — the pass was attempted but failed, so the Medaka consensus is kept and the mode says so (provisional_ont_only) — never silently claimed as a clean hybrid.

The polish.json records the mode, the polisher version, the bp changed, and the resistance_confidence that rides downstream to flag Stage 09 calls.

## 9.6	9.6 Stage 04 — Decontamination + organelle split

Kraken2 (against --data_dir/kraken2) plus tiara/BlobTools-style GC×coverage triage drop bacterial/human contigs, keeping fungal + unclassified contigs as the nuclear assembly; the mitochondrial genome is separated (GetOrganelle/oatk) because its mobile introns matter in Stage 10. Skipped (assembly passes through as nuclear) when --skip_decontam or no --data_dir. Emits *.nuclear.fasta, *.mito.fasta, decontam.json.

Honest limitation. The shipped module keeps all contigs as nuclear (a seqkit pass) and writes an empty mito placeholder — the BlobTools refinement and organelle extraction are wired for milestone 3. Kraken2 is invoked but its classification is not yet used to drop contigs.

## 9.7	9.7 Stage 05 — Assembly QC + completeness

QUAST contiguity plus compleasm (preferred) or BUSCO completeness against the order-specific ODB10 lineage (fungi_odb10 fallback under --busco_lineage auto). bin/assembly_qc.py computes assembly length, contig count, N50, largest contig and the BUSCO % complete, and sets a MIMAG-style qc_pass flag (true when the assembly is non-empty and BUSCO ≥80% or unavailable). Emits assemblyqc.json.

## 9.8	9.8 Stage 06 — Repeat modelling + soft-masking

RepeatModeler2 builds a de-novo TE library (-LTRStruct), RepeatMasker soft-masks the nuclear genome (-xsmall) — both from the dfam/tetools image. Emits the soft-masked genome (for annotation), the TE library (for Stage 10), and repeat.json.

## 9.9	9.9 Stage 07 — Eukaryotic annotation (Funannotate)

Funannotate predict (GeneMark / Augustus / SNAP / GlimmerHMM combined by EVM) then annotate (eggNOG, Pfam, dbCAN, MEROPS; InterProScan only with --run_interproscan true), from the nextgenusfs/funannotate image with FUNANNOTATE_DB=--data_dir/funannotate. A free-academic GeneMark key can be supplied via --genemark_key. Emits the proteins FASTA and the GenBank (.gbk) that Stages 09 and 11 consume, plus annotate.json. This is the slowest stage under emulation.

## 9.10	9.10 Stage 08 — Identification (GCPSR)

barrnap finds the rRNA operon; extract_rrna_region.py extracts a padded window around it so ITSx stays under the HMMER 100 kb limit (it aborts on whole chromosomes); ITSx carves ITS1/5.8S/ITS2; vsearch classifies ITS against UNITE (--id 0.90, top hits). Optionally (--genome_id true, slow emulated) sourmash gather does genome-level ANI. id_classify.py resolves a species call with confidence and method under the GCPSR logic (§2): ITS ≥98.5% → high/species; 94–98.5% → medium; genus-only → low; genome-ANI concordance with ITS → high (GCPSR). Emits *.species.txt, *.markers.fasta, identify.json (including the top ITS identity, reused by novelty).

## 9.11	9.11 Stage 09 — Antifungal resistance (the centerpiece)

The bespoke core; see §10 for full depth. af_resistance.py takes the Funannotate proteins, the species call, the nuclear assembly and the GBK; selects species-relevant panel rows; finds the isolate ortholog of each target gene; reads residues at the panel hotspots; classifies each as a known resistance mutation, novel hotspot variant, wild-type, loss-of-function, gain-of-function, or over-expression target; and runs the cyp51a_TR.py promoter-TR detector for A. fumigatus. Every call carries a confidence flag tied to the polish mode. Emits resistance.json.

## 9.12	9.12 Stage 10 — Mobile & repeat elements

te_summary.py tallies the TE library by superfamily (LTR Gypsy/Copia, TIR, LINE, Helitron); geNomad (with --data_dir/genomad_db) scans for mycovirus / endogenous viral elements; mobile_merge.py combines them, noting the DNA-only caveat (RNA mycoviruses are not captured by WGS). Skippable with --skip_mge. Emits mobile.json.

## 9.13	9.13 Stage 11 — Biosynthetic gene clusters

fungiSMASH (antiSMASH 8, fungal taxon) detects NRPS/PKS/terpene/RiPP/hybrid clusters from the GBK; bgc_summary.py counts clusters by product type. MIBiG-known-vs-novel and BiG-SCAPE networks are resolved across isolates in Layer 2. Skippable with --skip_bgc. Emits bgc.json and the region GBKs.

## 9.14	9.14 Stage 12 — Novelty

novelty_call.py combines skani genome ANI (<95% → candidate novel; the strong signal when a reference genome set is staged under refseq_fungi_genomes/) with the ITS distance fallback (<98.5% → candidate novel), and reports the verdict with the GCPSR/polyphasic caveat. Skippable with --skip_novelty. Emits novelty.json.

## 9.15	9.15 Stage 13 — Eukaryote extras

extras.py derives the mating-type idiomorph (MAT1-1 / MAT1-2 from protein names) and tallies secretome/CAZyme/virulence keyword hits from the annotation; ploidy/heterozygosity (nQuire / Smudgeplot / GenomeScope2) and richer secretome tools (SignalP6 / DeepTMHMM / EffectorP3) are wired to run when reads and models are available. Skippable with --skip_extras. Emits extras.json.

## 9.16	9.16 Stage 14 — Report + master table

make_report.py merges every per-stage result.json into a self-contained per-isolate HTML report and appends the isolate’s master row to results/04_summary/<sample>.master.tsv (published to both the sample’s 14_report/ dir and the shared 04_summary/). Missing stages become NA — never a hard failure. The master schema is the Layer-2 contract (§11).

# 10	10. The antifungal-resistance module in depth

This is where FungiForge adds the most value, because there is no ResFinder for fungi. The flow below is bin/af_resistance.py (calling bin/cyp51a_TR.py), driven by the curated panel and the FungAMR references.

Stage 09 antifungal-resistance calling flow: species-relevant panel rows drive ortholog detection against species-matched FungAMR references; observed residues at panel hotspots are classified by mechanism; the cyp51A promoter TR detector runs structurally for A. fumigatus; the polish mode sets the confidence flag.

1 — The curated panel (af_resistance_panel.tsv). A tab-separated interpretation overlay, one row per gene×species, with columns gene, organism_regex, drug_class, drugs, mechanism, hotspot_aa, known_mutations, note, source. It covers the clinically important axes:

- Azoles: A. fumigatus cyp51A (G54/L98H/Y121F/G138C/M220/T289A/G448S…), cyp51A promoter (TR34/TR46/TR46³/TR53), hmg1, cyp51B; Candida albicans / auris / parapsilosis / tropicalis / Nakaseomyces glabratus / Cryptococcus neoformans ERG11 (Y132F, K143R, F126L…); the azole efflux regulators TAC1/MRR1/UPC2/PDR1 (GOF) and pumps CDR1/CDR2/MDR1/AtrF (over-expression).

- Echinocandins: FKS1 HS1/HS2 (S645P, F641S…) and FKS2 across Candida/Nakaseomyces and A. fumigatus (S678P).

- Pyrimidines (5-FC): FUR1 (R101C) and loss-of-function of FCY1/FCY2.

- Polyenes: loss-of-function of ERG3/ERG6/ERG2.

2 — Species-relevance filter. Only rows whose organism_regex matches the isolate’s species (or genus, or spp.) are searched — so A. fumigatus isolates are not mis-tested against Candida ERG11 numbering.

3 — Ortholog detection and residue mapping. For each relevant gene the caller pulls the matching FungAMR reference from the isolate’s own species (headers are GENE__ACC__Species; species-matched, else genus, else longest), because the panel’s hotspot numbering is species-specific and a wrong-species reference would misnumber every residue. It finds the isolate ortholog among the Funannotate proteins with a k-mer prefilter → BLOSUM62 global pairwise alignment (≥55% identity), then reads the residue in the isolate frame aligned to each 1-based reference hotspot.

4 — Mechanism-aware calling. Each panel row is classified by its mechanism:

- substitution — report known_resistance_mutation (residue matches a known mutant), novel_hotspot_variant (changed but not a known mutant), or wild_type.

- loss_of_function — flag a candidate LoF when the ortholog is truncated (<85% of reference length).

- GOF (regulators) — report gene presence plus any known gain-of-function residues (confirm with expression/phenotype).

- overexpression (efflux) — report presence only; over-expression needs RNA-seq and is not callable from a genome.

5 — The cyp51A promoter TR detector (cyp51a_TR.py). For A. fumigatus with an assembly, the structural detector locates cyp51A in the GBK, extracts the ~600 bp upstream promoter (strand-aware), scans for a tandem array (unit lengths 20–60 bp, ≥90% identity between copies, ≥2 copies), and snaps the unit length to the nearest canonical TR (TR34/TR46/TR53; TR46³ when ≥3 copies of the ~46 bp unit). A detected TR is emitted as a high/medium-confidence azole-resistance call annotated with its canonical coding-mutation pairing (TR34+L98H, TR46+Y121F/T289A).

6 — The confidence flag (provisional vs high). Every call carries a confidence derived from the polish mode: high for a hybrid-polished assembly, provisional_ont_only for ONT-only. This is the pipeline’s central honesty guarantee — an ONT-only substitution or frameshift call could be a homopolymer artefact, so it is never presented as confirmed. The promoter TR call (a structural signal) is high-confidence when hybrid and medium otherwise.

7 — Graceful degradation. Without staged FungAMR references the gene is reported as no_reference (“searched but unresolved”) rather than guessed, and the structural TR scan still runs. The output resistance.json summarises the resistant drug classes, the count of known mutations, and whether a reference was available.

Interpretation caveat (in the panel header and every report). These are genotype calls that flag known resistance-associated changes. MIC / AFST phenotype confirmation is always required, and over-expression/GOF mechanisms need expression data.

# 11	11. Outputs

## 11.1	11.1 Per-isolate outputs

Under results/<sample>/:

| Output | Location | Notes |
| --- | --- | --- |
| Filtered reads | 01_readqc/ | ONT filtered FASTQ + NanoPlot |
| Polished assembly | 03_polish/ | *.polished.fasta + polish.json (mode) |
| Nuclear / mito | 04_decontam/ | *.nuclear.fasta, *.mito.fasta |
| Assembly QC | 05_assembly_qc/ | assemblyqc.json (N50, BUSCO, qc_pass) |
| Annotation | 07_annotate/ | *.proteins.faa, *.gbk |
| Identification | 08_identify/ | *.species.txt, identify.json |
| Resistance | 09_resistance/ | resistance.json (calls + confidence + TR) |
| Mobile / BGC / novelty / extras | 10_…–13_… | per-feature result.json |
| Per-isolate report | 14_report/ | *.report.html (self-contained) |
| Master row | 14_report/ and 04_summary/ | *.master.tsv |

## 11.2	11.2 The master table schema (the Layer-2 contract)

make_report.py writes a fixed, append-only column set to results/04_summary/<sample>.master.tsv:

sample, compartment, facility, season,
species, species_confidence, id_method,
qc_pass, busco_complete, busco_lineage, assembly_len, n_contigs,
ploidy, mating_type,
resistant_classes, n_known_af_mutations, cyp51A_TR,
novelty, n_bgc, n_mycovirus, te_percent,
polish_mode,
sample_verdict, contam_removed_pct, top_taxon,
stages_failed

### 11.2.1	Stage status contract

Every per-stage JSON (results/<sample>/NN_<stage>/<sample>.<stage>.json) carries a status and a tools block, written by bin/ff_status.sh / bin/ff_status.py at the end of the task:

| status | Meaning |
| --- | --- |
| ok | every tool that ran exited 0 |
| partial | an optional step failed and the documented fallback was used (e.g. Polypolish failed, the medaka assembly was carried forward, resistance confidence dropped to provisional) |
| failed | a required tool failed. The task exits non-zero and the run stops after pending tasks, except for the best-effort stages (BGC, extras), which record failed and let the run continue |
| skipped | the stage was deliberately not run |

tools records each tool’s exit code, wall time and (via ff_version) the version string the tool reports; versions lists every version recorded in the task, including tools that were probed but not run; skipped_tools records steps not run and why (a missing database, not applicable to this isolate). The master table summarises this per isolate in stages_failed (stage:status;… or none), so a row with results is never mistaken for a clean run. The assembly and medaka steps, which have no scientific JSON of their own, emit small status JSONs (<sample>.assemble.json, <sample>.medaka.json) for the same reason. || true is not used anywhere in the task scripts.

One row per isolate; missing values are NA (or none for resistant_classes). This schema is deliberately organism-agnostic and mirrors the bacterial study’s master table so the two One Health analyses are directly comparable.

## 11.3	11.3 Provenance

Every run ends with a run-level PROVENANCE task that writes pipeline_info/provenance.json (schema fungiforge/resources/provenance.schema.json, checked at write time):

| Block | Content | Source |
| --- | --- | --- |
| pipeline | name, version, git commit and dirty flag, revision/repository when run from GitHub, script hash | main.nf (head node) |
| nextflow, run | Nextflow version/build, session id, run name, start time, full command line, launch/work dirs, profile, container engine, stub/resume flags, user, host | Nextflow workflow metadata |
| params | every effective parameter | Nextflow |
| containers | process label → container reference that was configured | Nextflow |
| images | for each reference, what actually ran: a site .sif or cached .img with size and sha256, or a Docker image id + repo digest | workflow.onComplete on the head node (make_provenance.py images) |
| databases | the DB_CHECK manifest: each database’s key files, .done timestamp and MANIFEST.tsv source | bin/check_databases.py |
| samples | per isolate, per stage: status, tools (exit, seconds, version), skipped_tools, versions, note | every stage JSON |
| tool_versions, version_conflicts, stage_summary | one consolidated version per tool across the run (a tool reporting two different versions is listed under version_conflicts — it should be empty), and ok/partial/failed/skipped counts per stage | aggregated |

Versions are what each tool prints (e.g. vsearch v2.29.1_linux_x86_64); the authoritative package versions of the base image are in env/base.linux-64.lock. Hashing the ~30 GB image set takes one to two minutes at the end of the run; --provenance_hash_images false records path and size only. On a shared install set params.image_cache_dir (site config) to the pre-pulled image cache so cached images resolve; the launcher’s NXF_APPTAINER_CACHEDIR is used otherwise. Nextflow also writes pipeline_info/ (execution report, timeline, trace).

# 12	12. Layer 2 — the One Health comparative analysis

analysis/ is a set of R objective scripts that consume only the master rows — the same decoupling the bacterial study uses. Run after the pipeline has produced master TSVs:

analysis/run_downstream.sh results/ [sample_metadata.csv]

Flow: 01_merge_metadata.R gathers every 04_summary/*.master.tsv (falling back to */14_report/*.master.tsv) and optionally left-joins richer sample metadata (air volume, health-seeking, …) by sample id; 02_recover_metadata.R standardises compartment/env and derives resistance/novelty/BGC logicals into output/analysis_dataset.csv, which every objective reads. The eight objectives:

| Script | Objective |
| --- | --- |
| 03_objective1_composition.R | community composition & ID (richness, compartment PERMANOVA, priority pathogens) |
| 04_objective2_resistome.R | antifungal resistome by compartment (azole/echinocandin prevalence, cyp51A TR carriage, Fisher tests) |
| 05_objective3_mobile.R | TE load & mycovirus carriage by compartment |
| 06_objective4_transmission.R | cross-compartment clonality (candidate transmission; SNP/phylo confirm) |
| 07_objective5_risk.R | mixed-effects risk drivers (facility random effect) of resistance/priority carriage |
| 08_objective6_virulence.R | virulence & resistance×virulence convergence (e.g. azole-R A. fumigatus from air) |
| 09_objective7_connectivity.R | shared BGC / mobile-unit connectivity across compartments (BiG-SCAPE + skani) |
| 10_objective8_novelty.R | candidate novel species + novel BGCs / production potential |

Conventions match the bacterial study: a shared _theme.R with the fixed AIR/HUMAN/SURFACE palette, set.seed(20260729), self-resolving output/objectiveN + figures/objectiveN, and FigureN_* PNG+PDF at 300 dpi. The outputs are the substrate for the manuscript and seminar deck (built with the scideck engine).

Status. The objective scripts are scaffolds: several (connectivity, some risk models) emit summary tables and note where the full analysis (BiG-SCAPE GCF networks, SNP/phylogenetic confirmation) plugs in. They run against real master rows without modification.

# 13	13. Interpreting results

Machinery-proven vs needs-real-data. On the test fixture and -stub-run the DAG runs and the JSON contracts fire, but the numbers are not biology. Treat as machinery-proven only until a real isolate is processed.

Read every resistance call through its confidence flag. A provisional_ont_only substitution or frameshift may be a homopolymer artefact — confirm with a hybrid polish (add Illumina reads and re-run) before reporting it. The cyp51A promoter TR is structural and more robust to ONT error, but still confirm the paired coding mutation. Every resistance call is a genotype — MIC/AFST is required for a clinical statement.

Read species calls through confidence and method. high/GCPSR (ITS + genome ANI concordant) is trustworthy; medium/low (ITS below species threshold, or genus-only) needs multi-locus confirmation. A candidate_novel_species verdict is a hypothesis for polyphasic follow-up, not a described species.

Know the current placeholders. Decontamination keeps all contigs (BlobTools/organelle extraction pending), efflux over-expression and ploidy are reported as presence/NA (need RNA-seq/read-based tools), and MARDy is not fetched. These are documented honestly in the code and this manual; do not over-read them.

# 14	14. Troubleshooting

| Symptom | Cause / fix |
| --- | --- |
| Missing --samplesheet at launch | provide --samplesheet s.csv with the seven columns |
| --basecall set but --dorado_model missing | pass --dorado_model <model> |
| ID / resistance / BGC empty, warning about --data_dir | set --data_dir /path/to/fungiforge_db and stage the DBs (§6) |
| Reference DBs invisible inside a container | the profile binds --data_dir automatically; ensure the path is correct and (Apptainer) in APPTAINER_BINDPATH |
| Stage 07/11 take many hours locally | linux/amd64 emulation on arm64 hosts — run on a cluster, or accept the wall time; keep --run_interproscan false locally |
| antiSMASH “command not found” / container exits immediately | the bgc label clears the image entrypoint (--entrypoint=""); keep that in conf/base.config |
| Medaka/Funannotate crash on getpass.getuser() | the Docker profile sets -e HOME=/tmp -e USER=fungiforge; keep it |
| ITSx aborts “over comparison pipeline limit” | it was handed a whole chromosome — extract_rrna_region.py windows the rRNA operon first; ensure barrnap ran |
| Resistance genes all no_reference | FungAMR references not staged — run bin/fetch_references.sh fungamr (builds reference_proteins.faa from UniProt) |
| A UNITE/Kraken2/RVDB fetch step logs FAILED | version-sensitive URL 404’d — resolve the current release (recipe in fetch_references.sh) and re-run just that step |
| Resistance calls all provisional_ont_only | the isolate is ONT-only — add Illumina reads (populate illumina_r1/r2) for a hybrid polish, or run it Illumina-only, for high confidence |
| Illumina-only isolate not assembling / wrong assembler | check the row has both illumina_r1+illumina_r2 and no ont_fastq; switch --sr_assembler spades\¦megahit if SPAdes runs out of memory (MEGAHIT is leaner) |
| A stage’s container gets pulled despite a skip | ensure you used the --skip_* flag (it emits an empty channel, avoiding the pull) |
| conda env won’t solve on Apple Silicon | CONDA_SUBDIR=osx-64 mamba env create -f env/<name>.yml (some builds are linux/osx-64 only) |

# 15	15. Reproducibility & provenance

Every image is pinned to a versioned tag or digest in conf/base.config (§4.3); the base image is built from the explicit conda lock env/base.linux-64.lock; the manifest (manifest.nextflowVersion = '>=23.10') pins the engine floor. Databases are verified before every run (DB_CHECK, §6.1) and recorded in --data_dir/MANIFEST.tsv with their source URL; FungAMR reference building records reference_build.json. Every run writes pipeline_info/provenance.json (§11.3): commit, Nextflow version, effective parameters, the sha256 or digest of every image that ran, the database manifest, and every tool version per sample and stage. Cite the image digests and database releases recorded there. The One Health analysis pins set.seed(20260729).

# 16	16. Extending FungiForge

- New organism / study: change the sample sheet metadata and --busco_lineage; no code edits.

- New resistance knowledge: add rows to af_resistance_panel.tsv (gene×species×mechanism× hotspots×known mutations) and rebuild FungAMR references — the caller picks them up.

- New assembler / polish: --assembler {flye,canu,raven}, --hybrid {auto,on,off}.

- Roadmap (honest): BlobTools decontam + organelle extraction (Stage 04), read-based ploidy and full secretome (Stage 13), BiG-SCAPE GCF networks and SNP/phylo transmission confirmation (Layer 2), and a real-SRA end-to-end test.

# 17	17. Glossary

ONT — Oxford Nanopore long-read sequencing. Hybrid polish — correcting an ONT assembly with Illumina short reads (Polypolish). ITS — internal transcribed spacer, the fungal barcode. UNITE — curated fungal ITS reference (species hypotheses, SH…FU). GCPSR — Genealogical Concordance Phylogenetic Species Recognition. ANI — average nucleotide identity. cyp51A — the azole target (14-α sterol demethylase / ERG11). TR34/TR46 — tandem repeats in the cyp51A promoter conferring environmental azole resistance. FKS1/2 — echinocandin target (glucan synthase), hotspots HS1/HS2. GOF / LoF — gain-/loss-of-function. BGC — biosynthetic gene cluster (NRPS/PKS/terpene/RiPP). fungiSMASH — antiSMASH fungal mode. BUSCO / compleasm — single-copy-ortholog completeness. MIMAG — genome-quality reporting standard. Master table — the fixed-schema per-isolate TSV that is the Layer-1 → Layer-2 handoff.

# 18	18. Citation

Cite via CITATION.cff in the repository root (Bright Adu; FungiForge: reproducible fungal genomics from ONT (+ hybrid Illumina), v0.1.0, MIT, github.com/aduton1000/fungiforge). FungiForge is the fungal sibling of the forge family — CaptureForge (design), CallForge (targeted germline analysis), MethylForge (methylomes), and FungiForge (fungal isolate genomics + One Health comparison).